# Adhesive PCR Film

| Description: | A strong PET / acrylic adhesive film that prevents sample evaporation during cycling or sample storage. Its transparency allows for thorough sample inspection. Samples can be accessed by peeling the film; there is no sticky residue left on the plate afterwards. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ordering Information: | AB-0558 AB-2558 |  |  | Adhesive PCR Film Adhesive PCR Film Roll for SEAL-IT 100™ |  |  | 100 sheets 100m roll |
|  | AB-0558/s |  |  | Adhesive PCR Film sample |  |  | 2 sheets |
| Sheet size: (AB-0558 only) | 137.50mm x 80mm (complete) 117.50mm x 80mm (adhesive section) |  |  |  |  |  |  |
| Storage: | Store in a cool, dry place. Avoid direct exposure to sunlight. It is recommended to use the seals within one year from date of purchase. |  |  |  |  |  |  |
| Physical Properties: | Seal thickness: Temperature range: |  |  |  |  | 255µm (without release liner) -20°C to 120°C |  |
| Sealing: | AB-2558: | For recommended sealing conditions please refer to the SEAL-IT 100™ Instruction Manual. |  |  |  |  |  |
| Note: | The Adhesive PCR Film has been designed for use in conjunction with screw-down or clip-down hot lid thermal cyclers where pressure is applied to the surface of the plate. This pressure is necessary for a complete seal at high temperatures. The film can also be used to seal plates being cycled in the H2OBIT™ Peel Seal Basket. |  |  |  |  |  |  |
|  | SEAL-IT 100™ and H2OBIT™ are trademarks of Advanced Biotechnologies Ltd (ABgene®). |  |  |  |  |  |  |