# Adhesive PCR Foil

| Description: | This strong adhesive foil provides an excellent bond that is suitable for both storage purposes (ambient to -80°C) and PCR, in which it eliminates evaporation at high temperatures. The foil can easily be pierced with a pipette tip, leaving no adhesive build-up on the tip. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ordering Information: | AB-0626 AB-2626 |  |  | Adhesive PCR Foil Seal Adhesive PCR Foil Roll for SEAL-IT 100™ |  | 100 sheets 200m roll |  |
|  | AB-0626/s |  |  | Adhesive PCR Foil sample |  | 2 sheets |  |
| Sheet Size: (AB-0626 only) | 130 x 80mm (complete) 122 x 80mm (with the application strip removed) |  |  |  |  |  |  |
| Storage: | Store in a cool, dry place. Avoid exposure to direct sunlight. It is recommended to use the seals within one year from date of purchase. |  |  |  |  |  |  |
| Physical | Thickness: |  |  |  | 75µm (without release liner) |  |  |
| Properties: | Temperature range: |  |  |  | -80°C to 150°C |  |  |
| Sealing: | AB-2626: | For recommended sealing conditions please refer to the SEAL-IT 100™ Instruction Manual. |  |  |  |  |  |
| Note: | The Adhesive PCR Foil has been designed for use in conjunction with screw-down or clip-down hot lid thermal cyclers where pressure is applied to the surface of the plate. This pressure is necessary for a complete seal at high temperatures. The foil can also be used to seal plates being cycled in the H2OBIT™ Peel Seal Basket. |  |  |  |  |  |  |
|  | SEAL-IT 100™ and H2OBIT™ are trademarks of Advanced Biotechnologies, Ltd (ABgene®). |  |  |  |  |  |  |